## Slide 1: Aakash Goel https://www.linkedin.com/in/goelaakash123/
Session 1:
Introduction to Computer Programming

## Slide 2: Motivation and Relevance
Area | How Programming Helps
Data Acquisition | Read sensor data via OPC-UA, Modbus, MQTT
Predictive Maintenance | Use Python + ML to predict equipment failure
Automation & Control | Interface with PLCs, schedule tasks, trigger alarms
Quality Monitoring | Real-time image processing (e.g., OpenCV in Python)
Digital Twins | Simulate systems with programmable models
SCADA/IIoT Integration | Use Python to build middleware, data ingestion, dashboards

## Slide 3: Core Concepts in Programming
Concept | Manufacturing Analogy | Python Example
Variables | Sensors storing values | temp = 85.0
Conditionals | IF machine > 100°C → shut down | if temp > 100:
Loops | Monitor sensor until value OK | while temp > 100:
Functions | Repeatable machine checks | def check_temp():

## Slide 4
Write a function monitor_temperature(sensor_data) to loop through temperature readings and raise an alert if temp > threshold.

## Slide 5: Intermediate Concepts
Concept | Manufacturing Link | Python Usage
Lists/Arrays | Sensor arrays, multiple machines | temps = [71, 75, 80]
Dictionaries | Storing sensor name + value | {"Sensor1": 75}
File I/O | Logging sensor data | with open("log.csv") as f:
Libraries | Domain-specific tools | pandas, numpy, pyserial, opcua

## Slide 6: Task - Read a CSV of sensor logs, check and log any over-threshold readings.

## Slide 7: Domain Specific Libraries
pyserial – Communicate with microcontrollers/PLCs over serial
opcua – Interface with OPC UA-enabled machines
pymodbus – Read/write Modbus registers
pandas – Process time-series sensor data
matplotlib – Plot trends, process control charts

## Slide 8: Building Strong Foundations
Like electrical wiring or PLC ladder logic — a solid foundation in programming enables:
Flexible automation
Error handling
Reusability (functions/modules)
Fast prototyping (for digital twins, analytics)